COMPOSTING APPENDIX

MUNICIPALITY/FACILITY

  ___________________________________________________________________

Complete this section only if this facility does have a general approval from NJDEP:

· What is the expiration date of the General Approval?   __________________________________

· What level of technology is employed at this facility?  

          MINIMAL
        LOW
        INTERMEDIATE
                HIGH

· How long has this facility been in operation?  _________________________________________

· Is this facility included in the Solid Waste Management Plan for this district…………………Y/N 

· Are property and surrounding roadways being maintained free of litter and debris………...…Y/N

· Does this facility appear to have sufficient capacity to handle incoming materials……………Y/N

· Does an effective visual buffer surround the compost site……………………………………..Y/N

· Is the facility fenced in to prevent unauthorized access………………………………………..Y/N

· Are there signs posted at the entrance that specify hours of operation, the telephone number

of the local fire department, and that the site is a NJDEP Approved facility…………………..Y/N

· Is there an adequate water supply and fire fighting equipment available….…………………...Y/N

· Have operators attended a composting course offered by the Rutgers

Cooperative Extention (or similar course)…………………………………..………………….Y/N

· Are materials received only when an operator is present………………………………...…….Y/N

· Is there any evidence of bags/containers mixed with the compost materials…………………..Y/N

· Is there any evidence of hazardous waste being kept at this site……………………………….Y/N

· Is a windsock present at this facility……………………………………………………………Y/N

· Does processing of incoming material begin within three (3) days of receipt, or

on the day of receipt if grass is present………………………………………….……………..Y/N

· Is finished compost stored at the site greater than 15 months………………………………….Y/N

· Is there a training procedure for employees at this site………………………………………...Y/N

· Is there any evidence that residue from operations is stored onsite for > 6 months……………Y/N

· Are records available for residue disposal sites and quantities…………………………………Y/N

· Is information describing recommended safe uses, application rates, or restrictions (if any) provided with any compost given away or offered for sale by this facility…………………….Y/N

· Is the finished compost tested annually by a NJDEP certified lab...………………………...…Y/N

· Are results of this testing available for inspection……………………………………………...Y/N

· Does this facility receive any materials other than yard trimmings (list on add’l sheet)……….Y/N

· Are daily records being kept for all materials received, stored, processed, and

transferred (ie. quantity, type, etc.)………………………………………………………....…..Y/N

· Are daily temperature and moisture monitoring of the compost process being kept…………...Y/N

· Are records available for finished compost retention time, sale, and distribution….…………..Y/N

· Have annual reports been submitted to NJDEP………………………………………………...Y/N

· Is an O&M Plan for the composting facility available…………………………………………Y/N

· Are all records/documentation kept onsite for a minimum of three (3) years………………….Y/N 

· Is this facility located in the Pinelands Protection Area………………………………………..Y/N

· Has this facility had any issues that kept it out of compliance with the NJDEP………...……..Y/N

If so, please describe____________________________________________________________

COMPOSTING APPENDIX (CONT.)
Complete this section if this facility does not have a general approval from NJDEP:

· Is this facility <3 acres in size?……………………………………………………………...….Y/N

· Does this facility accept yard trimmings only (including grass clippings),

at no more than 10,000 yd3 per year…………………….……..……….……………………....Y/N

· Do grass clippings comprise no more than 10% (by volume) of the total

yard trimmings received…………………………...……………………………………….Y/N/NA

· Is this facility located on Green Acres land, or other public open space………………….……Y/N

· Is this facility included in, or consistent with, the Solid Waste Management

Plan of the local district………………………………………………………………….……..Y/N

· Is there a 50 ft buffer zone between the windrows and the property line, and a

150 ft buffer between the windrows and of any area of human use/occupancy………………..Y/N

· If grass clippings are received, is there a 500 ft buffer between the windrows

and any area of human use/occupancy……………………………………………………..Y/N/NA

· Is there any evidence of accumulation of surface water at the composting site, or of

leachate runoff offsite, or impact to natural drainage conditions of surrounding areas………...Y/N

· Is there a vegetative buffer between the site and surrounding properties………………………Y/N

· Is site fenced in to prevent unauthorized access………………………………………………..Y/N

· Are materials only received when an operator is present………………………………………Y/N

· Is there a sign posted at the entrance showing hours of operation……………………………...Y/N

· Is there an adequate water supply and fire fighting equipment available….…………………...Y/N

· Is there any evidence of bags/containers mixed with the compost materials…………………..Y/N

· Do windrows exceed height of 6 ft, or width of 14 ft…………………………………………..Y/N

· Are windrows at least 16 ft apart (measured from base of pile) on at least

one side of the longest dimension………………………………………………………………Y/N

· Are windrows turned/reconstructed at least once per month (at least twice per

month if grass clippings are present)…………………………………………………………...Y/N

· Have operators attended a composting course offered by the Rutgers

Cooperative Extention (or similar course)…………………………………..………………….Y/N

