N.J.A.C. 7:14B-5.5 Release response plan [May 2012]

(a) 	The owner or operator shall prepare, and update as necessary to reflect changes to the facility and to regulations governing response plans, a release response plan which includes the following information:

1. 	The emergency telephone numbers of the local fire department, local health department, Department of Environmental Protection Hotline 1-877 WARN DEP or 1-877-927-6337, and any other appropriate local or State agencies;

2. 	The name and telephone number(s) of the person responsible for the operation of the facility during an emergency;

3. 	The name and telephone number of any retained licensed site remediation professional; and

4. 	The procedures to be followed in the event of a leak or discharge of a hazardous substance, pursuant to N.J.A.C. 7:14B-7.3 and 8, and the Administrative Requirements for the Remediation of Contaminated Sites, N.J.A.C. 7:26C, and N.J.A.C. 7:14B-9 if the underground storage tank system must be closed.

(b) 	The owner or operator shall ensure that the release response plan is available for onsite inspection.

(c) 	Any release response plan that is required by and is in compliance with the New Jersey Spill Compensation and Control Act, N.J.S.A. 58:10-23.11 et seq., and the Discharges of Petroleum and Other Hazardous Substances Rules, N.J.A.C. 7:1E, shall suffice for this requirement.

| Release Response Plan (N.J.A.C. 7:14B-5.5) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contacts: |  |  | Phone # |  | Contact Name |
| NJDEP Spill Hotline: |  |  | (877) WARN-DEP (877) 927-6337 |  | --- |
| Fire Department: |  |  | 911 |  | --- |
| Facility Owner / Operator: |  |  |  |  |  |
| Local/County Health Department: |  |  |  |  |  |
| County Emergency Management: |  |  |  |  |  |
| Corrective Action/Repair Contractor: |  |  |  |  |  |
| Licensed Site Remediation Professional (LSRP) or LSRP Firm: |  |  |  |  |  |
| Environmental Consultant (Optional): |  |  |  |  |  |
| Procedures |  |  |  |  |  |
| 1 | Immediately notify the Facility Owner of any suspected release including all monitoring system alarms and observations of product within the piping sumps. |  |  |  |  |
| 2 | Conduct a visual inspection of all readily accessible physical facilities (e.g. piping sumps) for evidence of leakage or discharge. |  |  |  |  |
| 3 | Run diagnostic check on all monitoring systems. Check for a malfunction of the monitoring system. If alarm condition confirmed, take tank system out of service until repair contractor can evaluate cause of alarm. |  |  |  |  |
| 4 | Contact tank system Repair Contractor, to visit site and investigate suspected release. |  |  |  |  |
| 5 | Facility Owner or designee must complete the investigation of a suspected release within 7 days of initial discovery. N.J.A.C 7:14B-7.1 Suspected releases |  |  |  |  |
| 6 | Facility Owner or designee shall immediately contact the NJDEP (877-927-6337) within 15 minutes of confirmation of the release. N.J.A.C 7:14B-7.3 Confirmed discharges |  |  |  |  |
| 7 | Refer to N.J.A.C. 7:14B-8 Remediation Activities or N.J.A.C. 7:14B-9 Closure Requirements for additional guidance following confirmation of a release. |  |  |  |  |
| 8 | Facility Owner makes determination on what remediation activities are needed. Consider contacting LSRP or Environmental Consultant for additional guidance. |  |  |  |  |
| UST Size and Contents |  | Tank ID # |  | Location Description |  |

Review the complete NJDEP UST Rule (N.J.A.C. 7:14B) at: www.nj.gov/dep/rules/rules/njac7_14b.pdf